{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["第七批"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"第七批","index":0,"n_rows":32,"n_cols":5,"rows_kept":32,"merged":[[0,0,1,6],[3,1,5,1],[6,1,12,1],[15,1,17,1],[18,1,20,1],[21,1,22,1],[24,1,25,1],[27,1,29,1]],"flags":["formulas_cached_only"]}
["2010年第七批建设工程质量检测资质审查意见表"]
[]
["序号","属地","       单位名称","      申请内容","   专家审查意见"]
[1,"省直","湖北华祥建设工程质量检测有限公司","见证取样、主体结构、钢结构、室内环境、地基基础（延期）","符合要求"]
[2,null,"湖北省路桥集团瑞达建设工程质量检测有限公司","见证取样（逾期重新申请）","3人社保资料待核"]
[3,null,"湖北龙欣建材有限公司汉口分公司实验室","商品砼实验室（新申请）","符合要求"]
[4,"武汉","武汉市中心工程检测有限公司","地基基础（增项）","符合要求"]
[5,null,"武汉市江汉建筑工程质量检测有限公司","主体结构（增项）","符合要求"]
[6,null,"湖北精正建筑技术检测有限公司","地基基础（逾期重新申请）","不合格，设备不符合资质标准要求"]
[7,null,"武汉华南置业集团有限公司实验室","商品砼实验室（延期）","符合要求"]
[8,null,"武汉鑫宏林水泥制品有限公司实验室","商品砼实验室（新申请）","符合要求"]
[9,null,"武汉源锦商品混凝土有限公司实验室","商品砼实验室（新申请）","符合要求"]
[10,null,"武汉娲石商砼有限公司实验室","商品砼实验室（新申请）","符合要求"]
[11,"武汉","武汉鑫超强商品混凝土有限公司实验室","商品砼实验室（新申请）","符合要求"]
[12,null,"湖北联润建材有限公司实验室","商品砼实验室（新申请）","符合要求"]
[13,"荆州","江陵县兴发建设工程检测有限公司","见证取样、地基基础、主体结构、设备安装（逾期重新申请）","地基基础、主体结构不符合资质标准要求，注册结构师、岩土师未到位"]
[14,null,"监利县正信建设工程质量检测有限公司","见证取样、主体结构、地基基础、设备安装（逾期重新申请）","地基基础、主体结构不符合资质标准要求，注册结构师、岩土师未到位"]
[15,null,"监利五洲商品混凝土有限公司实验室","商品砼实验室（新申请）","现场考核不合格"]
[16,"恩施","建始县众城建设工程质量检测有限责任公司","见证取样、主体结构、设备安装、（逾期重新申请）","主体结构不符合资质标准要求，注册结构师未到位"]
[17,null,"恩施市天宇建设工程质量检测中心","见证取样、地基基础、主体结构、室内环境、设备安装（延期）","地基基础、主体结构不符合资质标准要求，注册结构师、岩土师未到位"]
[18,null,"利川市环宇建设工程质量检测中心","主体结构（增项）","符合要求"]
[19,"孝感","湖北远大混凝土有限公司实验室","商品砼实验室（新申请）","符合要求"]
[20,null,"华新混凝土（武汉）有限公司汉川实验室","商品砼实验室（新申请）","符合要求"]
[21,"鄂州","湖北林之立建材有限公司实验室","商品砼实验室（新申请）","符合要求"]
[22,"襄樊","宜城市华鹏建材有限公司实验室","商品砼实验室（新申请）","符合要求"]
[23,null,"襄樊市民发混凝土有限公司实验室","商品砼实验室（延期）","符合要求"]
[24,"黄石","华新混凝土（武汉）有限公司阳新实验室","商品砼实验室（新申请）","符合要求"]
[25,"黄冈","罗田县广宇建设工程质量检测有限公司","见证取样、地基基础、主体结构、设备安装（延期）","注册结构师待核"]
[26,null,"黄冈市鑫海工贸有限公司实验室","商品砼实验室（延期）","符合要求"]
[27,null,"黄冈鼎顺混凝土有限公司实验室","商品砼实验室（延期）","符合要求"]
[28,"荆门","荆门中和混凝土有限责任公司实验室","商品砼实验室（新申请）","符合要求"]
[29,"宜昌","长阳金汤混凝土有限公司实验室","商品砼实验室（新申请）","符合要求"]