{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["保温管","面积","重量","Sheet3"],"not_rendered":{"images":2,"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"保温管","index":0,"n_rows":27,"n_cols":49,"rows_kept":27,"merged":[[0,0,0,48],[2,1,2,3],[2,4,2,6],[2,7,2,9],[2,10,2,12],[2,13,2,15],[2,16,2,18],[2,19,2,21],[2,22,2,24],[2,25,2,27],[2,28,2,30],[2,31,2,33],[2,34,2,36],[2,37,2,39],[2,40,2,42],[2,43,2,45],[2,46,2,48],[4,1,4,3],[4,4,4,6],[4,7,4,9],[4,10,4,12],[4,13,4,15],[4,16,4,18],[4,19,4,21],[4,22,4,24],[4,25,4,27],[4,28,4,30],[4,31,4,33],[4,34,4,36],[4,37,4,39],[4,40,4,42],[4,43,4,45],[4,46,4,48]],"flags":["formulas_cached_only"]}
["无缝焊接管保温材料工程量计算表"]
[null,"只能填写管长：单位为100m",null,"禁止修改红色区域"]
[null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积",null,null,"保温材料体积"]
["管道外径mm","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3","单位管长体积m3/100m","管长数量100m","体积m3"]
[null,"保温层厚度20mm",null,null,"保温层厚度25mm",null,null,"保温层厚度30mm",null,null,"保温层厚度40mm",null,null,"保温层厚度45mm",null,null,"保温层厚度50mm",null,null,"保温层厚度55mm",null,null,"保温层厚度60mm",null,null,"保温层厚度65mm",null,null,"保温层厚度70mm",null,null,"保温层厚度75mm",null,null,"保温层厚度80mm",null,null,"保温层厚度85mm",null,null,"保温层厚度90mm",null,null,"保温层厚度95mm",null,null,"保温层厚度100mm"]
[22,0.26,null,{"v":0,"d":"0.00"},0.37,null,{"v":0,"d":"0.00"},0.47,null,{"v":0,"d":"0.00"},0.78,null,{"v":0,"d":"0.00"},0.95,null,{"v":0,"d":"0.00"},1.13,null,{"v":0,"d":"0.00"},1.33,null,{"v":0,"d":"0.00"},1.55,null,{"v":0,"d":"0.00"},1.78,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[28,{"v":0.3,"d":"0.30"},null,{"v":0,"d":"0.00"},0.42,null,{"v":0,"d":"0.00"},0.55,null,{"v":0,"d":"0.00"},0.85,null,{"v":0,"d":"0.00"},1.03,null,{"v":0,"d":"0.00"},1.23,null,{"v":0,"d":"0.00"},1.43,null,{"v":0,"d":"0.00"},1.66,null,{"v":0,"d":"0.00"},{"v":1.9,"d":"1.90"},null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[32,0.33,null,{"v":0,"d":"0.00"},0.45,null,{"v":0,"d":"0.00"},0.58,null,{"v":0,"d":"0.00"},{"v":0.9,"d":"0.90"},null,{"v":0,"d":"0.00"},1.09,null,{"v":0,"d":"0.00"},1.29,null,{"v":0,"d":"0.00"},{"v":1.5,"d":"1.50"},null,{"v":0,"d":"0.00"},1.73,null,{"v":0,"d":"0.00"},1.98,null,{"v":0,"d":"0.00"},2.24,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[38,0.36,null,{"v":0,"d":"0.00"},0.49,null,{"v":0,"d":"0.00"},0.64,null,{"v":0,"d":"0.00"},0.98,null,{"v":0,"d":"0.00"},1.17,null,{"v":0,"d":"0.00"},1.38,null,{"v":0,"d":"0.00"},1.61,null,{"v":0,"d":"0.00"},1.85,null,{"v":0,"d":"0.00"},{"v":2.1,"d":"2.10"},null,{"v":0,"d":"0.00"},2.38,null,{"v":0,"d":"0.00"},2.66,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[45,0.41,null,{"v":0,"d":"0.00"},0.55,null,{"v":0,"d":"0.00"},0.71,null,{"v":0,"d":"0.00"},1.07,null,{"v":0,"d":"0.00"},1.27,null,{"v":0,"d":"0.00"},1.49,null,{"v":0,"d":"0.00"},1.73,null,{"v":0,"d":"0.00"},1.98,null,{"v":0,"d":"0.00"},2.25,null,{"v":0,"d":"0.00"},2.53,null,{"v":0,"d":"0.00"},2.83,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[57,0.48,null,{"v":0,"d":"0.00"},0.64,null,{"v":0,"d":"0.00"},0.82,null,{"v":0,"d":"0.00"},1.22,null,{"v":0,"d":"0.00"},1.44,null,{"v":0,"d":"0.00"},1.68,null,{"v":0,"d":"0.00"},1.94,null,{"v":0,"d":"0.00"},2.21,null,{"v":0,"d":"0.00"},2.49,null,{"v":0,"d":"0.00"},2.79,null,{"v":0,"d":"0.00"},3.11,null,{"v":0,"d":"0.00"},3.44,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[76,0.58,null,{"v":0,"d":"0.00"},0.77,null,{"v":0,"d":"0.00"},0.97,null,{"v":0,"d":"0.00"},1.42,null,{"v":0,"d":"0.00"},1.67,null,{"v":0,"d":"0.00"},1.93,null,{"v":0,"d":"0.00"},2.21,null,{"v":0,"d":"0.00"},2.51,null,{"v":0,"d":"0.00"},2.82,null,{"v":0,"d":"0.00"},3.14,null,{"v":0,"d":"0.00"},3.49,null,{"v":0,"d":"0.00"},3.85,null,{"v":0,"d":"0.00"},4.22,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[89,0.68,null,{"v":0,"d":"0.00"},{"v":0.9,"d":"0.90"},null,{"v":0,"d":"0.00"},1.12,null,{"v":0,"d":"0.00"},1.62,null,{"v":0,"d":"0.00"},1.89,null,{"v":0,"d":"0.00"},2.18,null,{"v":0,"d":"0.00"},2.49,null,{"v":0,"d":"0.00"},2.81,null,{"v":0,"d":"0.00"},3.14,null,{"v":0,"d":"0.00"},{"v":3.5,"d":"3.50"},null,{"v":0,"d":"0.00"},3.86,null,{"v":0,"d":"0.00"},4.25,null,{"v":0,"d":"0.00"},4.65,null,{"v":0,"d":"0.00"},5.06,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[108,{"v":0.8,"d":"0.80"},null,{"v":0,"d":"0.00"},1.04,null,{"v":0,"d":"0.00"},{"v":1.3,"d":"1.30"},null,{"v":0,"d":"0.00"},1.86,null,{"v":0,"d":"0.00"},2.16,null,{"v":0,"d":"0.00"},2.48,null,{"v":0,"d":"0.00"},2.82,null,{"v":0,"d":"0.00"},3.17,null,{"v":0,"d":"0.00"},3.53,null,{"v":0,"d":"0.00"},3.91,null,{"v":0,"d":"0.00"},4.31,null,{"v":0,"d":"0.00"},4.72,null,{"v":0,"d":"0.00"},5.15,null,{"v":0,"d":"0.00"},{"v":5.6,"d":"5.60"},null,{"v":0,"d":"0.00"},6.06,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[133,0.96,null,{"v":0,"d":"0.00"},1.24,null,{"v":0,"d":"0.00"},1.54,null,{"v":0,"d":"0.00"},2.17,null,{"v":0,"d":"0.00"},2.52,null,{"v":0,"d":"0.00"},2.87,null,{"v":0,"d":"0.00"},3.25,null,{"v":0,"d":"0.00"},3.64,null,{"v":0,"d":"0.00"},4.04,null,{"v":0,"d":"0.00"},4.46,null,{"v":0,"d":"0.00"},{"v":4.9,"d":"4.90"},null,{"v":0,"d":"0.00"},5.35,null,{"v":0,"d":"0.00"},5.82,null,{"v":0,"d":"0.00"},6.31,null,{"v":0,"d":"0.00"},{"v":6.8,"d":"6.80"},null,{"v":0,"d":"0.00"},7.32,null,{"v":0,"d":"0.00"}]
[159,1.12,null,{"v":0,"d":"0.00"},1.45,null,{"v":0,"d":"0.00"},1.78,null,{"v":0,"d":"0.00"},{"v":2.5,"d":"2.50"},null,{"v":0,"d":"0.00"},2.88,null,{"v":0,"d":"0.00"},3.28,null,{"v":0,"d":"0.00"},{"v":3.7,"d":"3.70"},null,{"v":0,"d":"0.00"},4.13,null,{"v":0,"d":"0.00"},4.57,null,{"v":0,"d":"0.00"},5.04,null,{"v":0,"d":"0.00"},5.51,null,{"v":0,"d":"0.00"},6.01,null,{"v":0,"d":"0.00"},6.51,null,{"v":0,"d":"0.00"},7.04,null,{"v":0,"d":"0.00"},7.58,null,{"v":0,"d":"0.00"},8.14,null,{"v":0,"d":"0.00"}]
[219,{"v":1.6,"d":"1.60"},null,{"v":0,"d":"0.00"},1.92,null,{"v":0,"d":"0.00"},2.35,null,{"v":0,"d":"0.00"},3.26,null,{"v":0,"d":"0.00"},3.73,null,{"v":0,"d":"0.00"},4.23,null,{"v":0,"d":"0.00"},4.73,null,{"v":0,"d":"0.00"},5.26,null,{"v":0,"d":"0.00"},{"v":5.8,"d":"5.80"},null,{"v":0,"d":"0.00"},6.36,null,{"v":0,"d":"0.00"},6.93,null,{"v":0,"d":"0.00"},7.51,null,{"v":0,"d":"0.00"},8.12,null,{"v":0,"d":"0.00"},8.74,null,{"v":0,"d":"0.00"},9.37,null,{"v":0,"d":"0.00"},10.02,null,{"v":0,"d":"0.00"}]
[273,1.84,null,{"v":0,"d":"0.00"},2.34,null,{"v":0,"d":"0.00"},2.86,null,{"v":0,"d":"0.00"},3.93,null,{"v":0,"d":"0.00"},{"v":4.5,"d":"4.50"},null,{"v":0,"d":"0.00"},5.07,null,{"v":0,"d":"0.00"},5.67,null,{"v":0,"d":"0.00"},6.28,null,{"v":0,"d":"0.00"},{"v":6.9,"d":"6.90"},null,{"v":0,"d":"0.00"},7.54,null,{"v":0,"d":"0.00"},{"v":8.2,"d":"8.20"},null,{"v":0,"d":"0.00"},8.87,null,{"v":0,"d":"0.00"},9.56,null,{"v":0,"d":"0.00"},10.26,null,{"v":0,"d":"0.00"},10.98,null,{"v":0,"d":"0.00"},11.72,null,{"v":0,"d":"0.00"}]
[325,2.17,null,{"v":0,"d":"0.00"},2.75,null,{"v":0,"d":"0.00"},3.35,null,{"v":0,"d":"0.00"},4.59,null,{"v":0,"d":"0.00"},5.23,null,{"v":0,"d":"0.00"},5.89,null,{"v":0,"d":"0.00"},6.57,null,{"v":0,"d":"0.00"},7.26,null,{"v":0,"d":"0.00"},7.96,null,{"v":0,"d":"0.00"},8.69,null,{"v":0,"d":"0.00"},9.42,null,{"v":0,"d":"0.00"},10.18,null,{"v":0,"d":"0.00"},10.95,null,{"v":0,"d":"0.00"},11.73,null,{"v":0,"d":"0.00"},12.53,null,{"v":0,"d":"0.00"},13.35,null,{"v":0,"d":"0.00"}]
[377,2.37,null,{"v":0,"d":"0.00"},3.16,null,{"v":0,"d":"0.00"},3.85,null,{"v":0,"d":"0.00"},5.24,null,{"v":0,"d":"0.00"},5.97,null,{"v":0,"d":"0.00"},6.71,null,{"v":0,"d":"0.00"},7.46,null,{"v":0,"d":"0.00"},8.24,null,{"v":0,"d":"0.00"},9.03,null,{"v":0,"d":"0.00"},9.83,null,{"v":0,"d":"0.00"},10.65,null,{"v":0,"d":"0.00"},11.48,null,{"v":0,"d":"0.00"},12.34,null,{"v":0,"d":"0.00"},{"v":13.2,"d":"13.20"},null,{"v":0,"d":"0.00"},14.08,null,{"v":0,"d":"0.00"},14.99,null,{"v":0,"d":"0.00"}]
[426,{"v":2.8,"d":"2.80"},null,{"v":0,"d":"0.00"},3.54,null,{"v":0,"d":"0.00"},{"v":4.3,"d":"4.30"},null,{"v":0,"d":"0.00"},5.86,null,{"v":0,"d":"0.00"},6.66,null,{"v":0,"d":"0.00"},7.48,null,{"v":0,"d":"0.00"},8.31,null,{"v":0,"d":"0.00"},9.16,null,{"v":0,"d":"0.00"},10.03,null,{"v":0,"d":"0.00"},10.91,null,{"v":0,"d":"0.00"},{"v":11.8,"d":"11.80"},null,{"v":0,"d":"0.00"},12.72,null,{"v":0,"d":"0.00"},13.64,null,{"v":0,"d":"0.00"},14.59,null,{"v":0,"d":"0.00"},15.55,null,{"v":0,"d":"0.00"},16.53,null,{"v":0,"d":"0.00"}]
[478,3.13,null,{"v":0,"d":"0.00"},3.95,null,{"v":0,"d":"0.00"},4.79,null,{"v":0,"d":"0.00"},6.51,null,{"v":0,"d":"0.00"},{"v":7.4,"d":"7.40"},null,{"v":0,"d":"0.00"},8.29,null,{"v":0,"d":"0.00"},9.21,null,{"v":0,"d":"0.00"},10.14,null,{"v":0,"d":"0.00"},11.09,null,{"v":0,"d":"0.00"},12.05,null,{"v":0,"d":"0.00"},13.03,null,{"v":0,"d":"0.00"},14.02,null,{"v":0,"d":"0.00"},15.03,null,{"v":0,"d":"0.00"},16.06,null,{"v":0,"d":"0.00"},{"v":17.1,"d":"17.10"},null,{"v":0,"d":"0.00"},18.16,null,{"v":0,"d":"0.00"}]
[529,3.45,null,{"v":0,"d":"0.00"},4.35,null,{"v":0,"d":"0.00"},5.27,null,{"v":0,"d":"0.00"},7.15,null,{"v":0,"d":"0.00"},8.12,null,{"v":0,"d":"0.00"},{"v":9.1,"d":"9.10"},null,{"v":0,"d":"0.00"},10.09,null,{"v":0,"d":"0.00"},{"v":11.1,"d":"11.10"},null,{"v":0,"d":"0.00"},12.13,null,{"v":0,"d":"0.00"},13.17,null,{"v":0,"d":"0.00"},13.23,null,{"v":0,"d":"0.00"},{"v":15.3,"d":"15.30"},null,{"v":0,"d":"0.00"},16.39,null,{"v":0,"d":"0.00"},{"v":17.5,"d":"17.50"},null,{"v":0,"d":"0.00"},18.62,null,{"v":0,"d":"0.00"},19.76,null,{"v":0,"d":"0.00"}]
[630,4.08,null,{"v":0,"d":"0.00"},5.14,null,{"v":0,"d":"0.00"},6.22,null,{"v":0,"d":"0.00"},8.42,null,{"v":0,"d":"0.00"},9.54,null,{"v":0,"d":"0.00"},10.68,null,{"v":0,"d":"0.00"},11.84,null,{"v":0,"d":"0.00"},13.01,null,{"v":0,"d":"0.00"},14.19,null,{"v":0,"d":"0.00"},15.39,null,{"v":0,"d":"0.00"},16.61,null,{"v":0,"d":"0.00"},17.84,null,{"v":0,"d":"0.00"},19.09,null,{"v":0,"d":"0.00"},20.35,null,{"v":0,"d":"0.00"},21.63,null,{"v":0,"d":"0.00"},22.94,null,{"v":0,"d":"0.00"}]
[720,4.56,null,{"v":0,"d":"0.00"},5.85,null,{"v":0,"d":"0.00"},7.07,null,{"v":0,"d":"0.00"},9.55,null,{"v":0,"d":"0.00"},10.82,null,{"v":0,"d":"0.00"},{"v":12.1,"d":"12.10"},null,{"v":0,"d":"0.00"},13.39,null,{"v":0,"d":"0.00"},{"v":14.7,"d":"14.70"},null,{"v":0,"d":"0.00"},16.03,null,{"v":0,"d":"0.00"},17.37,null,{"v":0,"d":"0.00"},18.73,null,{"v":0,"d":"0.00"},{"v":20.1,"d":"20.10"},null,{"v":0,"d":"0.00"},21.49,null,{"v":0,"d":"0.00"},{"v":22.9,"d":"22.90"},null,{"v":0,"d":"0.00"},24.32,null,{"v":0,"d":"0.00"},25.76,null,{"v":0,"d":"0.00"}]
[820,5.28,null,{"v":0,"d":"0.00"},6.64,null,{"v":0,"d":"0.00"},8.01,null,{"v":0,"d":"0.00"},10.81,null,{"v":0,"d":"0.00"},12.23,null,{"v":0,"d":"0.00"},13.67,null,{"v":0,"d":"0.00"},15.12,null,{"v":0,"d":"0.00"},16.59,null,{"v":0,"d":"0.00"},18.07,null,{"v":0,"d":"0.00"},19.57,null,{"v":0,"d":"0.00"},21.09,null,{"v":0,"d":"0.00"},22.62,null,{"v":0,"d":"0.00"},24.16,null,{"v":0,"d":"0.00"},25.73,null,{"v":0,"d":"0.00"},{"v":27.3,"d":"27.30"},null,{"v":0,"d":"0.00"},28.91,null,{"v":0,"d":"0.00"}]
["合  计",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]

{"sheet":"面积","index":1,"n_rows":27,"n_cols":52,"rows_kept":27,"merged":[[0,0,0,12],[2,1,2,3],[2,4,2,6],[2,7,2,9],[2,10,2,12],[2,13,2,15],[2,16,2,18],[2,19,2,21],[2,22,2,24],[2,25,2,27],[2,28,2,30],[2,31,2,33],[2,34,2,36],[2,37,2,39],[2,40,2,42],[2,43,2,45],[2,46,2,48],[2,49,2,51],[4,1,4,3],[4,4,4,6],[4,7,4,9],[4,10,4,12],[4,13,4,15],[4,16,4,18],[4,19,4,21],[4,22,4,24],[4,25,4,27],[4,28,4,30],[4,31,4,33],[4,34,4,36],[4,37,4,39],[4,40,4,42],[4,43,4,45],[4,46,4,48],[4,49,4,51]],"flags":["formulas_cached_only"]}
["无缝焊接管除锈、保护层面积计算表"]
[null,"只能填写管长：单位为100m",null,"禁止修改红色区域"]
[null,"除  锈",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积",null,null,"保护层表面积"]
["管道外径mm","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2","单位管长面积m2/100m","管长数量100m","面积m2"]
[null,0,null,null,"保温层厚度20mm",null,null,"保温层厚度25mm",null,null,"保温层厚度30mm",null,null,"保温层厚度40mm",null,null,"保温层厚度45mm",null,null,"保温层厚度50mm",null,null,"保温层厚度55mm",null,null,"保温层厚度60mm",null,null,"保温层厚度65mm",null,null,"保温层厚度70mm",null,null,"保温层厚度75mm",null,null,"保温层厚度80mm",null,null,"保温层厚度85mm",null,null,"保温层厚度90mm",null,null,"保温层厚度95mm",null,null,"保温层厚度100mm"]
[{"v":22,"d":"22.00"},6.91,null,{"v":0,"d":"0.00"},{"v":19.5,"d":"19.50"},null,{"v":0,"d":"0.00"},{"v":22.6,"d":"22.60"},null,{"v":0,"d":"0.00"},{"v":25.8,"d":"25.80"},null,{"v":0,"d":"0.00"},{"v":32,"d":"32.00"},null,{"v":0,"d":"0.00"},{"v":35.2,"d":"35.20"},null,{"v":0,"d":"0.00"},{"v":38.3,"d":"38.30"},null,{"v":0,"d":"0.00"},{"v":41.5,"d":"41.50"},null,{"v":0,"d":"0.00"},{"v":44.6,"d":"44.60"},null,{"v":0,"d":"0.00"},{"v":47.8,"d":"47.80"},null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[{"v":28,"d":"28.00"},{"v":8.8,"d":"8.80"},null,{"v":0,"d":"0.00"},{"v":21.4,"d":"21.40"},null,{"v":0,"d":"0.00"},{"v":24.5,"d":"24.50"},null,{"v":0,"d":"0.00"},{"v":27.6,"d":"27.60"},null,{"v":0,"d":"0.00"},{"v":33.9,"d":"33.90"},null,{"v":0,"d":"0.00"},{"v":37.1,"d":"37.10"},null,{"v":0,"d":"0.00"},{"v":40.2,"d":"40.20"},null,{"v":0,"d":"0.00"},{"v":43.4,"d":"43.40"},null,{"v":0,"d":"0.00"},{"v":46.5,"d":"46.50"},null,{"v":0,"d":"0.00"},{"v":49.6,"d":"49.60"},null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[{"v":32,"d":"32.00"},{"v":10.1,"d":"10.10"},null,{"v":0,"d":"0.00"},{"v":22.6,"d":"22.60"},null,{"v":0,"d":"0.00"},{"v":25.8,"d":"25.80"},null,{"v":0,"d":"0.00"},{"v":28.9,"d":"28.90"},null,{"v":0,"d":"0.00"},{"v":35.2,"d":"35.20"},null,{"v":0,"d":"0.00"},{"v":38.3,"d":"38.30"},null,{"v":0,"d":"0.00"},{"v":41.5,"d":"41.50"},null,{"v":0,"d":"0.00"},{"v":44.6,"d":"44.60"},null,{"v":0,"d":"0.00"},{"v":47.8,"d":"47.80"},null,{"v":0,"d":"0.00"},{"v":50.9,"d":"50.90"},null,{"v":0,"d":"0.00"},{"v":54,"d":"54.00"},null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[{"v":38,"d":"38.00"},{"v":11.9,"d":"11.90"},null,{"v":0,"d":"0.00"},{"v":24.5,"d":"24.50"},null,{"v":0,"d":"0.00"},{"v":27.6,"d":"27.60"},null,{"v":0,"d":"0.00"},{"v":30.8,"d":"30.80"},null,{"v":0,"d":"0.00"},{"v":37.1,"d":"37.10"},null,{"v":0,"d":"0.00"},{"v":40.2,"d":"40.20"},null,{"v":0,"d":"0.00"},{"v":43.4,"d":"43.40"},null,{"v":0,"d":"0.00"},{"v":46.5,"d":"46.50"},null,{"v":0,"d":"0.00"},{"v":49.6,"d":"49.60"},null,{"v":0,"d":"0.00"},{"v":52.8,"d":"52.80"},null,{"v":0,"d":"0.00"},{"v":55.9,"d":"55.90"},null,{"v":0,"d":"0.00"},{"v":59.1,"d":"59.10"},null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[{"v":45,"d":"45.00"},{"v":14.1,"d":"14.10"},null,{"v":0,"d":"0.00"},{"v":26.7,"d":"26.70"},null,{"v":0,"d":"0.00"},{"v":29.8,"d":"29.80"},null,{"v":0,"d":"0.00"},{"v":33,"d":"33.00"},null,{"v":0,"d":"0.00"},{"v":39.3,"d":"39.30"},null,{"v":0,"d":"0.00"},{"v":42.4,"d":"42.40"},null,{"v":0,"d":"0.00"},{"v":45.6,"d":"45.60"},null,{"v":0,"d":"0.00"},{"v":48.7,"d":"48.70"},null,{"v":0,"d":"0.00"},{"v":50.8,"d":"50.80"},null,{"v":0,"d":"0.00"},{"v":55,"d":"55.00"},null,{"v":0,"d":"0.00"},{"v":58.1,"d":"58.10"},null,{"v":0,"d":"0.00"},{"v":61.3,"d":"61.30"},null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[{"v":57,"d":"57.00"},{"v":17.9,"d":"17.90"},null,{"v":0,"d":"0.00"},{"v":30.5,"d":"30.50"},null,{"v":0,"d":"0.00"},{"v":33.6,"d":"33.60"},null,{"v":0,"d":"0.00"},{"v":36.8,"d":"36.80"},null,{"v":0,"d":"0.00"},{"v":43,"d":"43.00"},null,{"v":0,"d":"0.00"},{"v":46.2,"d":"46.20"},null,{"v":0,"d":"0.00"},{"v":49.3,"d":"49.30"},null,{"v":0,"d":"0.00"},{"v":52.5,"d":"52.50"},null,{"v":0,"d":"0.00"},{"v":55.6,"d":"55.60"},null,{"v":0,"d":"0.00"},{"v":58.7,"d":"58.70"},null,{"v":0,"d":"0.00"},{"v":61.9,"d":"61.90"},null,{"v":0,"d":"0.00"},{"v":65,"d":"65.00"},null,{"v":0,"d":"0.00"},{"v":68.2,"d":"68.20"},null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[{"v":73,"d":"73.00"},{"v":22.9,"d":"22.90"},null,{"v":0,"d":"0.00"},{"v":35.5,"d":"35.50"},null,{"v":0,"d":"0.00"},{"v":38.6,"d":"38.60"},null,{"v":0,"d":"0.00"},{"v":41.8,"d":"41.80"},null,{"v":0,"d":"0.00"},{"v":48.1,"d":"48.10"},null,{"v":0,"d":"0.00"},{"v":51.2,"d":"51.20"},null,{"v":0,"d":"0.00"},{"v":54.3,"d":"54.30"},null,{"v":0,"d":"0.00"},{"v":57.5,"d":"57.50"},null,{"v":0,"d":"0.00"},{"v":60.6,"d":"60.60"},null,{"v":0,"d":"0.00"},{"v":63.8,"d":"63.80"},null,{"v":0,"d":"0.00"},{"v":66.9,"d":"66.90"},null,{"v":0,"d":"0.00"},{"v":70.1,"d":"70.10"},null,{"v":0,"d":"0.00"},{"v":73.2,"d":"73.20"},null,{"v":0,"d":"0.00"},{"v":76.3,"d":"76.30"},null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[{"v":89,"d":"89.00"},{"v":28,"d":"28.00"},null,{"v":0,"d":"0.00"},{"v":40.5,"d":"40.50"},null,{"v":0,"d":"0.00"},{"v":43.7,"d":"43.70"},null,{"v":0,"d":"0.00"},{"v":46.8,"d":"46.80"},null,{"v":0,"d":"0.00"},{"v":53.1,"d":"53.10"},null,{"v":0,"d":"0.00"},{"v":56.2,"d":"56.20"},null,{"v":0,"d":"0.00"},{"v":59.4,"d":"59.40"},null,{"v":0,"d":"0.00"},{"v":62.5,"d":"62.50"},null,{"v":0,"d":"0.00"},{"v":65.7,"d":"65.70"},null,{"v":0,"d":"0.00"},{"v":68.8,"d":"68.80"},null,{"v":0,"d":"0.00"},{"v":71.9,"d":"71.90"},null,{"v":0,"d":"0.00"},{"v":75.1,"d":"75.10"},null,{"v":0,"d":"0.00"},{"v":78.2,"d":"78.20"},null,{"v":0,"d":"0.00"},{"v":81.4,"d":"81.40"},null,{"v":0,"d":"0.00"},{"v":84.5,"d":"84.50"},null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[{"v":108,"d":"108.00"},{"v":33.9,"d":"33.90"},null,{"v":0,"d":"0.00"},{"v":46.5,"d":"46.50"},null,{"v":0,"d":"0.00"},{"v":49.6,"d":"49.60"},null,{"v":0,"d":"0.00"},{"v":52.8,"d":"52.80"},null,{"v":0,"d":"0.00"},{"v":59.1,"d":"59.10"},null,{"v":0,"d":"0.00"},{"v":62.2,"d":"62.20"},null,{"v":0,"d":"0.00"},{"v":65.3,"d":"65.30"},null,{"v":0,"d":"0.00"},{"v":68.5,"d":"68.50"},null,{"v":0,"d":"0.00"},{"v":71.6,"d":"71.60"},null,{"v":0,"d":"0.00"},{"v":74.8,"d":"74.80"},null,{"v":0,"d":"0.00"},{"v":77.9,"d":"77.90"},null,{"v":0,"d":"0.00"},{"v":81.1,"d":"81.10"},null,{"v":0,"d":"0.00"},{"v":84.2,"d":"84.20"},null,{"v":0,"d":"0.00"},{"v":87.3,"d":"87.30"},null,{"v":0,"d":"0.00"},{"v":90.5,"d":"90.50"},null,{"v":0,"d":"0.00"},{"v":93.6,"d":"93.60"},null,{"v":0,"d":"0.00"},null,null,{"v":0,"d":"0.00"}]
[{"v":133,"d":"133.00"},{"v":41.8,"d":"41.80"},null,{"v":0,"d":"0.00"},{"v":54.3,"d":"54.30"},null,{"v":0,"d":"0.00"},{"v":57.5,"d":"57.50"},null,{"v":0,"d":"0.00"},{"v":60.6,"d":"60.60"},null,{"v":0,"d":"0.00"},{"v":66.9,"d":"66.90"},null,{"v":0,"d":"0.00"},{"v":70.1,"d":"70.10"},null,{"v":0,"d":"0.00"},{"v":73.2,"d":"73.20"},null,{"v":0,"d":"0.00"},{"v":76.3,"d":"76.30"},null,{"v":0,"d":"0.00"},{"v":79.5,"d":"79.50"},null,{"v":0,"d":"0.00"},{"v":82.6,"d":"82.60"},null,{"v":0,"d":"0.00"},{"v":85.8,"d":"85.80"},null,{"v":0,"d":"0.00"},{"v":88.9,"d":"88.90"},null,{"v":0,"d":"0.00"},{"v":92,"d":"92.00"},null,{"v":0,"d":"0.00"},{"v":95.2,"d":"95.20"},null,{"v":0,"d":"0.00"},{"v":98.3,"d":"98.30"},null,{"v":0,"d":"0.00"},{"v":101.5,"d":"101.50"},null,{"v":0,"d":"0.00"},{"v":104.6,"d":"104.60"},null,{"v":0,"d":"0.00"}]
[{"v":159,"d":"159.00"},{"v":50,"d":"50.00"},null,{"v":0,"d":"0.00"},{"v":62.5,"d":"62.50"},null,{"v":0,"d":"0.00"},{"v":65.7,"d":"65.70"},null,{"v":0,"d":"0.00"},{"v":68.8,"d":"68.80"},null,{"v":0,"d":"0.00"},{"v":75.1,"d":"75.10"},null,{"v":0,"d":"0.00"},{"v":78.2,"d":"78.20"},null,{"v":0,"d":"0.00"},{"v":81.4,"d":"81.40"},null,{"v":0,"d":"0.00"},{"v":84.5,"d":"84.50"},null,{"v":0,"d":"0.00"},{"v":87.7,"d":"87.70"},null,{"v":0,"d":"0.00"},{"v":90.8,"d":"90.80"},null,{"v":0,"d":"0.00"},{"v":93.9,"d":"93.90"},null,{"v":0,"d":"0.00"},{"v":97.1,"d":"97.10"},null,{"v":0,"d":"0.00"},{"v":100.2,"d":"100.20"},null,{"v":0,"d":"0.00"},{"v":103.4,"d":"103.40"},null,{"v":0,"d":"0.00"},{"v":106.5,"d":"106.50"},null,{"v":0,"d":"0.00"},{"v":109.6,"d":"109.60"},null,{"v":0,"d":"0.00"},{"v":112.8,"d":"112.80"},null,{"v":0,"d":"0.00"}]
[{"v":219,"d":"219.00"},{"v":68.8,"d":"68.80"},null,{"v":0,"d":"0.00"},{"v":81.6,"d":"81.60"},null,{"v":0,"d":"0.00"},{"v":84.5,"d":"84.50"},null,{"v":0,"d":"0.00"},{"v":87.7,"d":"87.70"},null,{"v":0,"d":"0.00"},{"v":93.9,"d":"93.90"},null,{"v":0,"d":"0.00"},{"v":97.1,"d":"97.10"},null,{"v":0,"d":"0.00"},{"v":100.2,"d":"100.20"},null,{"v":0,"d":"0.00"},{"v":103.4,"d":"103.40"},null,{"v":0,"d":"0.00"},{"v":106.5,"d":"106.50"},null,{"v":0,"d":"0.00"},{"v":109.6,"d":"109.60"},null,{"v":0,"d":"0.00"},{"v":112.8,"d":"112.80"},null,{"v":0,"d":"0.00"},{"v":115.9,"d":"115.90"},null,{"v":0,"d":"0.00"},{"v":119.1,"d":"119.10"},null,{"v":0,"d":"0.00"},{"v":122.2,"d":"122.20"},null,{"v":0,"d":"0.00"},{"v":125.3,"d":"125.30"},null,{"v":0,"d":"0.00"},{"v":128.5,"d":"128.50"},null,{"v":0,"d":"0.00"},{"v":131.6,"d":"131.60"},null,{"v":0,"d":"0.00"}]
[{"v":273,"d":"273.00"},{"v":85.8,"d":"85.80"},null,{"v":0,"d":"0.00"},{"v":98.5,"d":"98.50"},null,{"v":0,"d":"0.00"},{"v":101.5,"d":"101.50"},null,{"v":0,"d":"0.00"},{"v":104.6,"d":"104.60"},null,{"v":0,"d":"0.00"},{"v":110.9,"d":"110.90"},null,{"v":0,"d":"0.00"},{"v":114,"d":"114.00"},null,{"v":0,"d":"0.00"},{"v":117.2,"d":"117.20"},null,{"v":0,"d":"0.00"},{"v":120.3,"d":"120.30"},null,{"v":0,"d":"0.00"},{"v":123.5,"d":"123.50"},null,{"v":0,"d":"0.00"},{"v":126.6,"d":"126.60"},null,{"v":0,"d":"0.00"},{"v":129.7,"d":"129.70"},null,{"v":0,"d":"0.00"},{"v":132.9,"d":"132.90"},null,{"v":0,"d":"0.00"},{"v":136,"d":"136.00"},null,{"v":0,"d":"0.00"},{"v":139.2,"d":"139.20"},null,{"v":0,"d":"0.00"},{"v":142.3,"d":"142.30"},null,{"v":0,"d":"0.00"},{"v":145.5,"d":"145.50"},null,{"v":0,"d":"0.00"},{"v":148.6,"d":"148.60"},null,{"v":0,"d":"0.00"}]
[{"v":325,"d":"325.00"},{"v":102.1,"d":"102.10"},null,{"v":0,"d":"0.00"},{"v":114.7,"d":"114.70"},null,{"v":0,"d":"0.00"},{"v":117.8,"d":"117.80"},null,{"v":0,"d":"0.00"},{"v":121,"d":"121.00"},null,{"v":0,"d":"0.00"},{"v":127.2,"d":"127.20"},null,{"v":0,"d":"0.00"},{"v":130.4,"d":"130.40"},null,{"v":0,"d":"0.00"},{"v":133.5,"d":"133.50"},null,{"v":0,"d":"0.00"},{"v":136.7,"d":"136.70"},null,{"v":0,"d":"0.00"},{"v":139.8,"d":"139.80"},null,{"v":0,"d":"0.00"},{"v":142.9,"d":"142.90"},null,{"v":0,"d":"0.00"},{"v":146.1,"d":"146.10"},null,{"v":0,"d":"0.00"},{"v":149.2,"d":"149.20"},null,{"v":0,"d":"0.00"},{"v":152.4,"d":"152.40"},null,{"v":0,"d":"0.00"},{"v":155.5,"d":"155.50"},null,{"v":0,"d":"0.00"},{"v":158.7,"d":"158.70"},null,{"v":0,"d":"0.00"},{"v":161.8,"d":"161.80"},null,{"v":0,"d":"0.00"},{"v":164.9,"d":"164.90"},null,{"v":0,"d":"0.00"}]
[{"v":377,"d":"377.00"},{"v":118.4,"d":"118.40"},null,{"v":0,"d":"0.00"},{"v":131,"d":"131.00"},null,{"v":0,"d":"0.00"},{"v":134.1,"d":"134.10"},null,{"v":0,"d":"0.00"},{"v":137.3,"d":"137.30"},null,{"v":0,"d":"0.00"},{"v":143.6,"d":"143.60"},null,{"v":0,"d":"0.00"},{"v":146.7,"d":"146.70"},null,{"v":0,"d":"0.00"},{"v":149.9,"d":"149.90"},null,{"v":0,"d":"0.00"},{"v":153,"d":"153.00"},null,{"v":0,"d":"0.00"},{"v":156.1,"d":"156.10"},null,{"v":0,"d":"0.00"},{"v":159.3,"d":"159.30"},null,{"v":0,"d":"0.00"},{"v":162.4,"d":"162.40"},null,{"v":0,"d":"0.00"},{"v":165.6,"d":"165.60"},null,{"v":0,"d":"0.00"},{"v":168.7,"d":"168.70"},null,{"v":0,"d":"0.00"},{"v":171.8,"d":"171.80"},null,{"v":0,"d":"0.00"},{"v":175,"d":"175.00"},null,{"v":0,"d":"0.00"},{"v":178.1,"d":"178.10"},null,{"v":0,"d":"0.00"},{"v":181.3,"d":"181.30"},null,{"v":0,"d":"0.00"}]
[{"v":426,"d":"426.00"},{"v":133.8,"d":"133.80"},null,{"v":0,"d":"0.00"},{"v":146.4,"d":"146.40"},null,{"v":0,"d":"0.00"},{"v":149.5,"d":"149.50"},null,{"v":0,"d":"0.00"},{"v":152.7,"d":"152.70"},null,{"v":0,"d":"0.00"},{"v":159,"d":"159.00"},null,{"v":0,"d":"0.00"},{"v":162.1,"d":"162.10"},null,{"v":0,"d":"0.00"},{"v":165.2,"d":"165.20"},null,{"v":0,"d":"0.00"},{"v":168.4,"d":"168.40"},null,{"v":0,"d":"0.00"},{"v":171.5,"d":"171.50"},null,{"v":0,"d":"0.00"},{"v":174.7,"d":"174.70"},null,{"v":0,"d":"0.00"},{"v":177.8,"d":"177.80"},null,{"v":0,"d":"0.00"},{"v":181,"d":"181.00"},null,{"v":0,"d":"0.00"},{"v":184.4,"d":"184.40"},null,{"v":0,"d":"0.00"},{"v":187.2,"d":"187.20"},null,{"v":0,"d":"0.00"},{"v":190.4,"d":"190.40"},null,{"v":0,"d":"0.00"},{"v":193.5,"d":"193.50"},null,{"v":0,"d":"0.00"},{"v":196.7,"d":"196.70"},null,{"v":0,"d":"0.00"}]
[{"v":478,"d":"478.00"},{"v":150.2,"d":"150.20"},null,{"v":0,"d":"0.00"},{"v":162.7,"d":"162.70"},null,{"v":0,"d":"0.00"},{"v":165.9,"d":"165.90"},null,{"v":0,"d":"0.00"},{"v":169,"d":"169.00"},null,{"v":0,"d":"0.00"},{"v":175.3,"d":"175.30"},null,{"v":0,"d":"0.00"},{"v":178.4,"d":"178.40"},null,{"v":0,"d":"0.00"},{"v":181.6,"d":"181.60"},null,{"v":0,"d":"0.00"},{"v":184.7,"d":"184.70"},null,{"v":0,"d":"0.00"},{"v":187.9,"d":"187.90"},null,{"v":0,"d":"0.00"},{"v":191,"d":"191.00"},null,{"v":0,"d":"0.00"},{"v":194.2,"d":"194.20"},null,{"v":0,"d":"0.00"},{"v":193,"d":"193.00"},null,{"v":0,"d":"0.00"},{"v":200.4,"d":"200.40"},null,{"v":0,"d":"0.00"},{"v":203.6,"d":"203.60"},null,{"v":0,"d":"0.00"},{"v":206.7,"d":"206.70"},null,{"v":0,"d":"0.00"},{"v":209.9,"d":"209.90"},null,{"v":0,"d":"0.00"},{"v":213,"d":"213.00"},null,{"v":0,"d":"0.00"}]
[{"v":529,"d":"529.00"},{"v":166.2,"d":"166.20"},null,{"v":0,"d":"0.00"},{"v":178.8,"d":"178.80"},null,{"v":0,"d":"0.00"},{"v":181.9,"d":"181.90"},null,{"v":0,"d":"0.00"},{"v":185,"d":"185.00"},null,{"v":0,"d":"0.00"},{"v":191.3,"d":"191.30"},null,{"v":0,"d":"0.00"},{"v":194.5,"d":"194.50"},null,{"v":0,"d":"0.00"},{"v":197.6,"d":"197.60"},null,{"v":0,"d":"0.00"},{"v":200.7,"d":"200.70"},null,{"v":0,"d":"0.00"},{"v":203.9,"d":"203.90"},null,{"v":0,"d":"0.00"},{"v":207,"d":"207.00"},null,{"v":0,"d":"0.00"},{"v":210.2,"d":"210.20"},null,{"v":0,"d":"0.00"},{"v":213.3,"d":"213.30"},null,{"v":0,"d":"0.00"},{"v":216.5,"d":"216.50"},null,{"v":0,"d":"0.00"},{"v":219.6,"d":"219.60"},null,{"v":0,"d":"0.00"},{"v":222.7,"d":"222.70"},null,{"v":0,"d":"0.00"},{"v":225.9,"d":"225.90"},null,{"v":0,"d":"0.00"},{"v":229,"d":"229.00"},null,{"v":0,"d":"0.00"}]
[{"v":630,"d":"630.00"},{"v":197.7,"d":"197.70"},null,{"v":0,"d":"0.00"},{"v":210.5,"d":"210.50"},null,{"v":0,"d":"0.00"},{"v":213.6,"d":"213.60"},null,{"v":0,"d":"0.00"},{"v":216.8,"d":"216.80"},null,{"v":0,"d":"0.00"},{"v":223.1,"d":"223.10"},null,{"v":0,"d":"0.00"},{"v":226.2,"d":"226.20"},null,{"v":0,"d":"0.00"},{"v":229.3,"d":"229.30"},null,{"v":0,"d":"0.00"},{"v":232.5,"d":"232.50"},null,{"v":0,"d":"0.00"},{"v":235.6,"d":"235.60"},null,{"v":0,"d":"0.00"},{"v":238.8,"d":"238.80"},null,{"v":0,"d":"0.00"},{"v":241.9,"d":"241.90"},null,{"v":0,"d":"0.00"},{"v":245,"d":"245.00"},null,{"v":0,"d":"0.00"},{"v":248.2,"d":"248.20"},null,{"v":0,"d":"0.00"},{"v":251.3,"d":"251.30"},null,{"v":0,"d":"0.00"},{"v":254.5,"d":"254.50"},null,{"v":0,"d":"0.00"},{"v":257.6,"d":"257.60"},null,{"v":0,"d":"0.00"},{"v":260.8,"d":"260.80"},null,{"v":0,"d":"0.00"}]
[{"v":720,"d":"720.00"},{"v":226.2,"d":"226.20"},null,{"v":0,"d":"0.00"},{"v":238.8,"d":"238.80"},null,{"v":0,"d":"0.00"},{"v":241.9,"d":"241.90"},null,{"v":0,"d":"0.00"},{"v":245,"d":"245.00"},null,{"v":0,"d":"0.00"},{"v":251.3,"d":"251.30"},null,{"v":0,"d":"0.00"},{"v":254.5,"d":"254.50"},null,{"v":0,"d":"0.00"},{"v":257.6,"d":"257.60"},null,{"v":0,"d":"0.00"},{"v":260.8,"d":"260.80"},null,{"v":0,"d":"0.00"},{"v":263.9,"d":"263.90"},null,{"v":0,"d":"0.00"},{"v":267,"d":"267.00"},null,{"v":0,"d":"0.00"},{"v":270.2,"d":"270.20"},null,{"v":0,"d":"0.00"},{"v":273.3,"d":"273.30"},null,{"v":0,"d":"0.00"},{"v":276.5,"d":"276.50"},null,{"v":0,"d":"0.00"},{"v":279.6,"d":"279.60"},null,{"v":0,"d":"0.00"},{"v":282.7,"d":"282.70"},null,{"v":0,"d":"0.00"},{"v":285.9,"d":"285.90"},null,{"v":0,"d":"0.00"},{"v":289,"d":"289.00"},null,{"v":0,"d":"0.00"}]
[{"v":820,"d":"820.00"},{"v":257.6,"d":"257.60"},null,{"v":0,"d":"0.00"},{"v":270.2,"d":"270.20"},null,{"v":0,"d":"0.00"},{"v":273.3,"d":"273.30"},null,{"v":0,"d":"0.00"},{"v":276.5,"d":"276.50"},null,{"v":0,"d":"0.00"},{"v":285.9,"d":"285.90"},null,{"v":0,"d":"0.00"},{"v":285.9,"d":"285.90"},null,{"v":0,"d":"0.00"},{"v":289,"d":"289.00"},null,{"v":0,"d":"0.00"},{"v":292.2,"d":"292.20"},null,{"v":0,"d":"0.00"},{"v":295.3,"d":"295.30"},null,{"v":0,"d":"0.00"},{"v":298.5,"d":"298.50"},null,{"v":0,"d":"0.00"},{"v":301.6,"d":"301.60"},null,{"v":0,"d":"0.00"},{"v":304.7,"d":"304.70"},null,{"v":0,"d":"0.00"},{"v":307.9,"d":"307.90"},null,{"v":0,"d":"0.00"},{"v":311,"d":"311.00"},null,{"v":0,"d":"0.00"},{"v":314.2,"d":"314.20"},null,{"v":0,"d":"0.00"},{"v":317.3,"d":"317.30"},null,{"v":0,"d":"0.00"},{"v":320.4,"d":"320.40"},null,{"v":0,"d":"0.00"}]
["合计",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]

{"sheet":"重量","index":2,"n_rows":19,"n_cols":12,"rows_kept":19,"merged":[[1,1,1,3],[1,5,1,7],[1,9,1,11]],"flags":["formulas_cached_only"]}
[]
[null,"壁    厚",{"$nulls":3},"壁厚",null,null,"铸铁管道","壁厚"]
["管   径","单位长度管道质量(Kg/m)","管道长度m","管道质量(Kg)","管   径","单位长度管道质量(Kg/m)","管道长度m","管道质量(Kg)","管   径","单位长度管道质量(Kg/m)","管道长度m","管道质量(Kg)"]
["镀锌钢管DN20",1.73,{"v":1,"d":"1.0"},1.73,"无缝钢管Ø32*4",2.76,{"v":1,"d":"1.0"},2.76,{"$nulls":3},0]
["镀锌钢管DN25",2.57,{"v":1,"d":"1.00"},2.57,"无缝钢管Ø32*3.5",2.46,{"v":1,"d":"1.00"},2.46,{"$nulls":3},0]
["镀锌钢管DN32",3.32,{"v":1,"d":"1.00"},3.32,"无缝钢管Ø38*3.5",2.98,{"v":1,"d":"1.00"},2.98,{"$nulls":3},0]
["镀锌钢管DN40",4.07,{"v":1,"d":"1.00"},4.07,"无缝钢管Ø45*3.5",3.58,{"v":1,"d":"1.00"},3.58,{"$nulls":3},0]
["镀锌钢管DN50",5.17,{"v":1,"d":"1.00"},5.17,"无缝钢管Ø57*4",5.23,{"v":1,"d":"1.00"},5.23,{"$nulls":3},0]
["镀锌钢管DN65",7.04,{"v":1,"d":"1.00"},7.04,"无缝钢管Ø76*4",7.1,{"v":1,"d":"1.00"},7.1,{"$nulls":3},0]
["镀锌钢管DN80",8.84,{"v":1,"d":"1.00"},8.84,"无缝钢管Ø89*4.5",9.38,{"v":1,"d":"1.00"},9.38,{"$nulls":3},0]
["无缝钢管Ø108*4",11.49,{"v":1,"d":"1.00"},11.49,"无缝钢管Ø108*5",12.7,{"v":1,"d":"1.00"},12.7,"DN75壁厚9mm",19.5,{"v":1,"d":"1.00"},19.5]
["无缝钢管Ø133*4",12.73,{"v":1,"d":"1.00"},12.73,"无缝钢管Ø133*5",15.78,{"v":1,"d":"1.00"},15.78,"DN100壁厚9mm",25.17,{"v":1,"d":"1.00"},25.17]
["无缝钢管Ø159*5",17.15,{"v":1,"d":"1.00"},17.15,"无缝钢管Ø159*6",18.99,{"v":1,"d":"1.00"},18.99,"DN150壁厚9mm",37.25,{"v":1,"d":"1.00"},37.25]
["无缝钢管Ø219*6",31.52,{"v":1,"d":"1.00"},31.52,"无缝钢管Ø219*10",51.45,{"v":1,"d":"1.00"},51.45,"DN200壁厚10mm",51.75,{"v":1,"d":"1.00"},51.75]
["无缝钢管Ø273*6.5",42.64,{"v":1,"d":"1.00"},42.64,"无缝钢管Ø273*12",77.24,1,77.24,"DN250壁厚10.8mm",69.25,1,69.25]
["无缝钢管Ø325*10",77.68,{"v":1,"d":"1.00"},77.68,"无缝钢管Ø325*12",92.63,1,92.63,"DN300壁厚11.4mm",87,1,87]
["无缝钢管Ø377*10",90.51,{"v":1,"d":"1.00"},90.51,"无缝钢管Ø377*12",108.02,1,108.02,"DN350壁厚12mm",106.5,1,106.5]
["无缝钢管Ø426*10",102.59,{"v":1,"d":"1.00"},102.59,"无缝钢管Ø426*12.8",132.41,1,132.41,"DN400壁厚12.8mm",130,1,130]
["合       计",945.47,0,419.04999999999995,{"$nulls":3},542.7099999999999,{"$nulls":3},526.4200000000001]

{"sheet":"Sheet3","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}