{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"images":1,"external_links":1,"defined_names":1,"comments":30},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":58,"n_cols":15,"rows_kept":58,"merged":[[0,1,0,3],[0,4,0,8],[0,9,0,10],[0,11,0,14],[1,1,1,3],[1,4,1,8],[1,9,1,10],[1,11,1,12],[1,13,1,14],[2,0,2,3],[2,4,2,8],[2,9,2,10],[2,11,2,14],[3,0,8,0],[3,1,8,1],[3,2,4,2],[3,3,4,8],[3,9,4,13],[5,3,5,8],[5,9,5,13],[6,3,6,8],[6,9,6,13],[7,3,7,8],[7,9,7,13],[8,3,8,8],[8,9,8,13],[9,0,15,0],[9,1,15,1],[9,3,9,4],[9,5,9,8],[9,9,9,11],[9,12,9,13],[10,3,10,4],[10,5,10,8],[10,9,10,11],[10,12,10,13],[11,3,11,8],[11,9,11,13],[12,3,12,8],[12,9,12,13],[13,3,13,8],[13,9,13,13],[14,3,14,8],[14,9,14,13],[15,3,15,8],[15,9,15,13],[16,0,30,0],[16,1,30,1],[16,3,16,8],[16,9,16,13],[17,3,17,8],[17,9,17,13],[18,3,18,8],[18,9,18,13],[19,3,19,8],[19,9,19,13],[20,3,20,8],[20,9,20,13],[21,3,21,8],[21,9,21,13],[22,3,22,8],[22,9,22,13],[23,3,23,8],[23,9,23,13],[24,3,24,8],[24,9,24,13],[25,3,25,8],[25,9,25,13],[26,3,26,8],[26,9,26,13],[27,3,27,8],[27,9,27,13],[28,3,28,8],[28,9,28,13],[29,3,29,8],[29,9,29,13],[30,3,30,8],[30,9,30,13],[31,0,44,0],[31,1,44,1],[31,3,31,8],[31,9,31,13],[32,3,32,8],[32,9,32,13],[33,3,33,8],[33,9,33,13],[34,3,34,8],[34,9,34,13],[35,3,35,8],[35,9,35,13],[36,3,36,8],[36,9,36,13],[37,3,37,8],[37,9,37,13],[38,3,38,8],[38,9,38,13],[39,3,39,8],[39,9,39,13],[40,3,40,8],[40,9,40,13],[41,3,41,8],[41,9,41,13],[42,3,42,8],[42,9,42,13],[43,3,43,8],[43,9,43,13],[44,3,44,8],[44,9,44,13],[45,0,49,0],[45,1,49,1],[45,3,45,8],[45,9,45,13],[46,3,46,8],[46,9,46,13],[47,3,47,8],[47,9,47,13],[48,3,48,8],[48,9,48,13],[49,3,49,8],[49,9,49,13],[50,0,53,0],[50,1,53,1],[50,3,50,8],[50,9,50,13],[51,3,51,8],[51,9,51,13],[52,3,52,8],[52,9,52,13],[53,3,53,8],[53,9,53,13],[54,0,54,14],[55,0,56,14],[57,0,57,3],[57,4,57,6],[57,7,57,10],[57,11,57,14]],"flags":["formulas_cached_only"]}
[{"$nulls":4},"仪表规格书（雷达液位计）",{"$nulls":4},"档案号PROJECT No："]
[{"$nulls":4},"INSTRUMENT SPECIFICATION",{"$nulls":4},"设计阶段 STAGE：",{"$nulls":3},"版本  FA"]
[{"$nulls":4},"(LEVEL )",{"$nulls":4},"页数PAGE："]
["概况","General",1,"仪表名称  Instrument Name",{"$nulls":10},"REV"]
[]
[null,null,2,"位号 Tag Number"]
[null,null,3,"检测位置 Service"]
[null,null,4]
[null,null,5]
["工艺条件","Process Conditions",6,"上部介质 Upper Fluid",null,"密度 Density   kg/m3"]
[null,null,7,"下部介质 Lower Fluid",null,"密度 Density kg/m3"]
[null,null,8,"操作压力 Oper. Press.  MPa 正常Nor."]
[null,null,9,"操作温度 Oper. Temp.  ℃ 正常Nor."]
[null,null,10]
[null,null,11]
[null,null,12]
["液位计","Level Gauge",13,"型式 Type"]
[null,null,14,"测量范围 Meas. Range"]
[null,null,15,"精度 Accuracy"]
[null,null,16,"压力等级 Pressure Rating"]
[null,null,17,"本体材质 Body Mat'l"]
[null,null,18,"元件材质 Element Mat'l"]
[null,null,19,"法兰标准及尺寸 Flanges Standard  and Size"]
[null,null,20]
[null,null,21]
[null,null,22]
[null,null,23]
[null,null,24]
[null,null,25]
[null,null,26]
[null,null,27]
["变送单元","Transmiting Unit",28,"型号 Model"]
[null,null,29,"型式 Type"]
[null,null,30,"输入信号 Input Signal"]
[null,null,31,"电源 Power Supply"]
[null,null,32,"电气接头 Elec. Conn."]
[null,null,33,"安装位置 Mounting Position"]
[null,null,34,"防护等级 Enclosure Protection"]
[null,null,35,"防爆等级 Explosion Proof"]
[null,null,36]
[null,null,37]
[null,null,38]
[null,null,39]
[null,null,40]
[null,null,41]
["附件","Accessories",42]
[null,null,43]
[null,null,44]
[null,null,45]
[null,null,46]
["其他","Miscell",47,"制造商 Manufacturer"]
[null,null,48]
[null,null,49]
[null,null,50]
["说明 NOTES："]
[]
[]
["编制",{"$nulls":3},"校对",null,null,"审核",{"$nulls":3}," 日期"]