{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"images":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":26,"n_cols":27,"rows_kept":26,"merged":[[0,0,0,5],[1,3,1,4]],"flags":["formulas_cached_only"]}
["偏心荷载作用(单位：N;MM)"]
[{"$nulls":10},"冲切验算",{"$nulls":5},"底面积验算"]
["弯矩M","轴力N","剪力v","标准值Fk","设计值F","基础埋深D","基础长度L1","基础宽度L2","基础高度H1","估算面积A","静反力Pnmax","基础顶面长h","基础顶面宽b","Fl","Vu",null,"重力G","偏心矩e","Pmax","Pmin","e  Vs  6/L1","Pmax Vs 1.2f","Pmin/Pmax  Vs  0.25","M1","AS1","M2","AS2"]
[{"v":214000000,"d":"2.14E+08"},{"v":183000,"d":"1.83E+05"},{"v":94305,"d":"9.43E+04"},140,195,3000,5000,3500,1200,1626666.6666666665,{"v":0.03677136,"d":"3.68E-02"},1200,500,90467.657724,1280218.5,"Ok",1498200.0000000002,{"v":228.25898167975254,"d":"2.28E+02"},{"v":0.12238278857142859,"d":"1.22E-01"},{"v":0.0697543542857143,"d":"6.98E-02"},"OK","Ok","Ok",206803660.78,1013.1474660983735,161597870.08,802.8311601957423]
[{"v":206000000,"d":"2.06E+08"},{"v":217000,"d":"2.17E+05"},15563,140,195,3000,5500,3500,1200,1928888.8888888888,{"v":0.024534407556080277,"d":"2.45E-02"},1200,500,81828.99616160564,1280218.5,"Ok",1624200.0000000002,{"v":127.09830545296545,"d":"1.27E+02"},{"v":0.10890843353010626,"d":"1.09E-01"},{"v":0.08238507296340025,"d":"8.24E-02"},"OK","Ok","Ok",171937128.15301058,842.3335692387349,118288556.96371503,587.6670241881661]
[{"v":306000000,"d":"3.06E+08"},{"v":138000,"d":"1.38E+05"},64517,140,195,3000,5500,3500,1200,1226666.6666666665,{"v":0.03109122644628099,"d":"3.11E-02"},1200,500,103697.79028561983,1280218.5,"Ok",1624200.0000000002,{"v":239.54749744637382,"d":"2.40E+02"},{"v":0.11546525242030696,"d":"1.15E-01"},{"v":0.06762046186540734,"d":"6.76E-02"},"OK","Ok","Ok",217887314.9355372,1067.447163117466,149901166.4396694,744.7209997747939]
[]
[{"v":110000000,"d":"1.10E+08"},{"v":171000,"d":"1.71E+05"},50018,140,195,3000,5000,3500,1200,1520000,{"v":0.023487935999999997,"d":"2.35E-02"},1200,500,57786.781742399995,1280218.5,"Ok",1498200.0000000002,{"v":119.83728732326861,"d":"1.20E+02"},{"v":0.10909936457142858,"d":"1.09E-01"},{"v":0.08166634971428573,"d":"8.17E-02"},"OK","Ok","Ok",132097130.72799999,647.154275563394,103221649.40799999,512.8134208112874]
[{"v":436000000,"d":"4.36E+08"},{"v":205000,"d":"2.05E+05"},36829,140,195,3000,5500,3500,1200,1822222.222222222,{"v":0.0391145520661157,"d":"3.91E-02"},1200,500,130457.78764231404,1280218.5,"Ok",1624200.0000000002,{"v":274.5966542750929,"d":"2.75E+02"},{"v":0.1234885780401417,"d":"1.23E-01"},{"v":0.06655817520661159,"d":"6.66E-02"},"OK","Ok","Ok",274114780.8793388,1342.9099592364237,188584293.6947658,936.9018739338043]
[{"v":474000000,"d":"4.74E+08"},{"v":128000,"d":"1.28E+05"},{"v":107000,"d":"1.07E+05"},140,195,3000,5500,3500,1200,1137777.7777777778,{"v":0.04442597402597403,"d":"4.44E-02"},1200,500,148172.84051948052,1280218.5,"Ok",1624200.0000000002,{"v":380.43602328501305,"d":"3.80E+02"},{"v":0.12880000000000003,"d":"1.29E-01"},{"v":0.05324675324675326,"d":"5.32E-02"},"OK","Ok","Ok",311337225.974026,1525.2656573291497,214192429.43722942,1064.1251431414632]
[]
[{"v":218000000,"d":"2.18E+08"},{"v":2030000,"d":"2.03E+06"},83838,140,195,3000,5000,3500,1200,18044444.444444444,{"v":0.141296576,"d":"1.41E-01"},1200,500,347628.4335184,1280218.5,"Ok",1498200.0000000002,{"v":104.55994558131626,"d":"1.05E+02"},{"v":0.22690800457142857,"d":"2.27E-01"},{"v":0.1763148525714286,"d":"1.76E-01"},"OK","Ok","Ok",794657830.7813333,3893.091469632242,620951352.6613333,3084.936049190617]
[{"v":606000000,"d":"6.06E+08"},{"v":519000,"d":"5.19E+05"},30750,140,195,3000,5500,3500,1200,4613333.333333333,{"v":0.0644401416765053,"d":"6.44E-02"},1200,500,214925.5935301062,1280218.5,"Ok",1624200.0000000002,{"v":308.58062709966407,"d":"3.09E+02"},{"v":0.1488141676505313,"d":"1.49E-01"},{"v":0.07385596221959859,"d":"7.39E-02"},"OK","Ok","Ok",451596512.8689492,2212.4069805455083,310687403.06965756,1543.5198999908466]
[{"v":524000000,"d":"5.24E+08"},{"v":184000,"d":"1.84E+05"},86605,140,195,3000,5500,3500,1200,1635555.5555555555,{"v":0.04808816056670602,"d":"4.81E-02"},1200,500,160387.23973412043,1280218.5,"Ok",1624200.0000000002,{"v":376.00320760977763,"d":"3.76E+02"},{"v":0.132462186540732,"d":"1.32E-01"},{"v":0.055402748524203085,"d":"5.54E-02"},"OK","Ok","Ok",337001829.25147575,1650.9985756000183,231849051.47894529,1151.8446554832467]
[]
[{"v":464000000,"d":"4.64E+08"},{"v":203540,"d":"2.04E+05"},{"v":201000,"d":"2.01E+05"},140,195,3000,5500,3500,1200,1809244.4444444443,{"v":0.05737208972845337,"d":"5.74E-02"},1200,500,191351.6965690673,1280218.5,"Ok",1624200.0000000002,{"v":451.8148095462155,"d":"4.52E+02"},{"v":0.14174611570247936,"d":"1.42E-01"},{"v":0.04814894923258561,"d":"4.81E-02"},"OK","Ok","Ok",402063604.81700116,1969.741352229086,276609968.61078316,1374.2204764924518]
[{"v":220000000,"d":"2.20E+08"},{"v":2290000,"d":"2.29E+06"},88634,140,195,3000,5500,3500,1200,20355555.555555556,{"v":0.14046986729634,"d":"1.40E-01"},1200,500,468505.63664680044,1280218.5,"Ok",1624200.0000000002,{"v":96.96520361759747,"d":"9.70E+01"},{"v":0.224843893270366,"d":"2.25E-01"},{"v":0.18182623659976385,"d":"1.82E-01"},"OK","Ok","Ok",984412830.0127507,4822.716196417552,677252053.5247539,3364.64243994711]
[{"v":100000000,"d":"1.00E+08"},{"v":178000,"d":"1.78E+05"},46114,140,195,3000,5000,3500,1200,1582222.222222222,{"v":0.022720356571428568,"d":"2.27E-02"},1200,500,55898.32526377142,1280218.5,"Ok",1498200.0000000002,{"v":109.17861830330509,"d":"1.09E+02"},{"v":0.10833178514285714,"d":"1.08E-01"},{"v":0.08323392914285715,"d":"8.32E-02"},"OK","Ok","Ok",127780232.03923808,626.0054479680487,99848393.67923808,496.054816202092]
[]
[{"v":434000000,"d":"4.34E+08"},{"v":2030000,"d":"2.03E+06"},{"v":178000,"d":"1.78E+05"},140,195,3000,5500,3500,1200,18044444.444444444,{"v":0.14820684769775677,"d":"1.48E-01"},1200,500,494310.59395513573,1280218.5,"Ok",1624200.0000000002,{"v":206.4473756225713,"d":"2.06E+02"},{"v":0.23258087367178276,"d":"2.33E-01"},{"v":0.1470762691853601,"d":"1.47E-01"},"OK","Ok","Ok",1038633588.6658794,5088.347975043501,714554615.0334513,3549.9645529147792]
[{"v":1030000000,"d":"1.03E+09"},{"v":518000,"d":"5.18E+05"},70167,140,195,3000,5500,3500,1200,4604444.444444444,{"v":0.09243734214876033,"d":"9.24E-02"},1200,500,308303.95633520663,1280218.5,"Ok",1624200.0000000002,{"v":539.7724768929138,"d":"5.40E+02"},{"v":0.1768113681227863,"d":"1.77E-01"},{"v":0.04575486564344746,"d":"4.58E-02"},"OK","Ok","Ok",647800893.7785125,3173.627737500061,445671238.9465565,2214.1304068686513]
[{"v":693000000,"d":"6.93E+08"},{"v":186600,"d":"1.87E+05"},{"v":103000,"d":"1.03E+05"},140,195,3000,5500,3500,1200,1658666.6666666665,{"v":0.059472963400236126,"d":"5.95E-02"},1200,500,198358.68800472256,1280218.5,"Ok",1624200.0000000002,{"v":485.0894632206759,"d":"4.85E+02"},{"v":0.1438469893742621,"d":"1.44E-01"},{"v":0.044288075560802845,"d":"4.43E-02"},"OK","Ok","Ok",416786527.5088547,2041.870113212104,286738980.8736718,1424.5422206009976]
[]
[{"v":339000000,"d":"3.39E+08"},{"v":2020000,"d":"2.02E+06"},{"v":137000,"d":"1.37E+05"},140,195,3000,5500,3500,1200,17955555.555555556,{"v":0.13812136953955137,"d":"1.38E-01"},1200,500,460672.7507910272,1280218.5,"Ok",1624200.0000000002,{"v":160.69370506558366,"d":"1.61E+02"},{"v":0.2224953955135773,"d":"2.22E-01"},{"v":0.1561227863046045,"d":"1.56E-01"},"OK","Ok","Ok",967954557.7331761,4742.0858207582605,665929163.0066904,3308.3894130545764]
[{"v":843000000,"d":"8.43E+08"},{"v":519000,"d":"5.19E+05"},52724,140,195,3000,5500,3500,1200,4613333.333333333,{"v":0.08011257804014167,"d":"8.01E-02"},1200,500,267197.4787228335,1280218.5,"Ok",1624200.0000000002,{"v":437.6181410974244,"d":"4.38E+02"},{"v":0.16448660401416765,"d":"1.64E-01"},{"v":0.058183525855962225,"d":"5.82E-02"},"OK","Ok","Ok",561428946.9053129,2750.484748703277,386249442.9242031,1918.9181654082672]
[{"v":618000000,"d":"6.18E+08"},{"v":0.18696,"d":"1.87E-01"},{"v":95633,"d":"9.56E+04"},140,195,3000,5500,3500,1200,1.6618666666666664,{"v":0.044777685273010626,"d":"4.48E-02"},1200,500,149345.89424894052,1280218.5,"Ok",1624200.0000000002,{"v":486.4790721880757,"d":"4.86E+02"},{"v":0.1291517112470366,"d":"1.29E-01"},{"v":0.03959636012543095,"d":"3.96E-02"},"OK","Ok","Ok",313802018.39325845,1537.3408700433984,215888146.59627524,1072.5496017898763]

{"sheet":"Sheet2","index":1,"n_rows":7,"n_cols":16,"rows_kept":7,"flags":["formulas_cached_only"]}
["弯矩M","轴力N","剪力v","底板厚宽b","底板长度l","x0","柱脚应力","应力max","应力min",null,"m","底板厚度t","a","y","nt总","nt/根"]
[{"v":450000000,"d":"4.50E+08"},{"v":110000,"d":"1.10E+05"},{"v":1200000,"d":"1.20E+06"},800,400,{"v":538,"d":"5.38E+02"},{"v":1.7109375,"d":"1.71E+00"},{"v":2.1015625,"d":"2.10E+00"},{"v":-1.4140625,"d":"-1.41E+00"},{"v":1.4140625,"d":"1.41E+00"},{"v":20958.984375000004,"d":"2.10E+04"},25.726691673701158,220.66666666666666,520.6666666666666,817.6568501920615,102.20710627400769]
[{"v":180000000,"d":"1.80E+08"},{"v":600000,"d":"6.00E+05"},{"v":90000,"d":"9.00E+04"},800,400,{"v":618.75,"d":"6.19E+02"},2.1614583333333335,{"v":2.578125,"d":"2.58E+00"},{"v":1.171875,"d":"1.17E+00"},{"v":1.171875,"d":"1.17E+00"},{"v":26477.86458333334,"d":"2.65E+04"},28.916138955698482,193.75,493.75,129.1139240506329,16.139240506329113]
[{"v":450000000,"d":"4.50E+08"},{"v":140000,"d":"1.40E+05"},{"v":120000,"d":"1.20E+05"},800,400,{"v":562,"d":"5.62E+02"},1.8046875,{"v":2.1953125,"d":"2.20E+00"},{"v":-1.3203125,"d":"-1.32E+00"},{"v":1.3203125,"d":"1.32E+00"},{"v":22107.421875,"d":"2.21E+04"},26.422132991908608,212.66666666666666,512.6666666666666,819.6879063719116,102.46098829648895]
[{"v":50000000,"d":"5.00E+07"},{"v":700000,"d":"7.00E+05"},{"v":500000,"d":"5.00E+05"},800,400,{"v":490.17857142857144,"d":"4.90E+02"},1.8967013888888888,{"v":2.3828125,"d":"2.38E+00"},{"v":1.9921875,"d":"1.99E+00"},{"v":1.9921875,"d":"1.99E+00"},{"v":23234.59201388889,"d":"2.32E+04"},27.087339447301453,236.60714285714286,536.6071428571429,-215.47420965058234,-26.934276206322792]
[{"v":100000000,"d":"1.00E+08"},{"v":130000,"d":"1.30E+05"},{"v":67000,"d":"6.70E+04"},800,400,{"v":882.6923076923077,"d":"8.83E+02"},0.7065972222222222,{"v":0.796875,"d":"7.97E-01"},{"v":0.015625,"d":"1.56E-02"},{"v":0.015625,"d":"1.56E-02"},{"v":8655.815972222223,"d":"8.66E+03"},16.533044396527334,105.76923076923077,405.7692307692308,212.55924170616115,26.569905213270143]
[{"v":250000000,"d":"2.50E+08"},{"v":100000,"d":"1.00E+05"},{"v":55000,"d":"5.50E+04"},800,400,{"v":594,"d":"5.94E+02"},1.0720486111111112,{"v":1.2890625,"d":"1.29E+00"},{"v":-0.6640625,"d":"-6.64E-01"},{"v":0.6640625,"d":"6.64E-01"},{"v":13132.595486111111,"d":"1.31E+04"},20.364516730496373,202,502,457.76892430278883,57.221115537848604]

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}