{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":285,"n_cols":4,"rows_kept":285,"merged":[[0,0,0,3],[1,0,3,0],[1,1,3,1],[1,2,3,2],[1,3,3,3],[4,0,7,0],[4,1,7,1],[4,2,7,2],[4,3,7,3],[8,0,11,0],[8,1,11,1],[8,2,11,2],[8,3,11,3],[12,0,15,0],[12,1,15,1],[12,2,15,2],[12,3,15,3],[16,0,19,0],[16,1,19,1],[16,2,19,2],[16,3,19,3],[20,0,23,0],[20,1,23,1],[20,2,23,2],[20,3,23,3],[24,0,27,0],[24,1,27,1],[24,2,27,2],[24,3,27,3],[28,0,31,0],[28,1,31,1],[28,2,31,2],[28,3,31,3],[32,0,35,0],[32,1,35,1],[32,2,35,2],[32,3,35,3],[36,0,39,0],[36,1,39,1],[36,2,39,2],[36,3,39,3],[40,0,43,0],[40,1,43,1],[40,2,43,2],[40,3,43,3],[44,0,47,0],[44,1,47,1],[44,2,47,2],[44,3,47,3],[48,0,51,0],[48,1,51,1],[48,2,51,2],[48,3,51,3],[52,0,55,0],[52,1,55,1],[52,2,55,2],[52,3,55,3],[56,0,59,0],[56,1,59,1],[56,2,59,2],[56,3,59,3],[60,0,63,0],[60,1,63,1],[60,2,63,2],[60,3,63,3],[64,0,67,0],[64,1,67,1],[64,2,67,2],[64,3,67,3],[68,0,71,0],[68,1,71,1],[68,2,71,2],[68,3,71,3],[72,0,75,0],[72,1,75,1],[72,2,75,2],[72,3,75,3],[76,0,79,0],[76,1,79,1],[76,2,79,2],[76,3,79,3],[80,0,83,0],[80,1,83,1],[80,2,83,2],[80,3,83,3],[84,0,87,0],[84,1,87,1],[84,2,87,2],[84,3,87,3],[88,0,91,0],[88,1,91,1],[88,2,91,2],[88,3,91,3],[92,0,95,0],[92,1,95,1],[92,2,95,2],[92,3,95,3],[96,0,99,0],[96,1,99,1],[96,2,99,2],[96,3,99,3],[100,0,103,0],[100,1,103,1],[100,2,103,2],[100,3,103,3],[104,0,107,0],[104,1,107,1],[104,2,107,2],[104,3,107,3],[108,0,111,0],[108,1,111,1],[108,2,111,2],[108,3,111,3],[112,0,115,0],[112,1,115,1],[112,2,115,2],[112,3,115,3],[116,0,119,0],[116,1,119,1],[116,2,119,2],[116,3,119,3],[120,0,123,0],[120,1,123,1],[120,2,123,2],[120,3,123,3],[124,0,127,0],[124,1,127,1],[124,2,127,2],[124,3,127,3],[128,0,131,0],[128,1,131,1],[128,2,131,2],[128,3,131,3],[132,0,135,0],[132,1,135,1],[132,2,135,2],[132,3,135,3],[136,0,139,0],[136,1,139,1],[136,2,139,2],[136,3,139,3],[140,0,143,0],[140,1,143,1],[140,2,143,2],[140,3,143,3],[144,0,147,0],[144,1,147,1],[144,2,147,2],[144,3,147,3],[148,0,151,0],[148,1,151,1],[148,2,151,2],[148,3,151,3],[152,0,155,0],[152,1,155,1],[152,2,155,2],[152,3,155,3],[156,0,159,0],[156,1,159,1],[156,2,159,2],[156,3,159,3],[160,0,163,0],[160,1,163,1],[160,2,163,2],[160,3,163,3],[164,0,167,0],[164,1,167,1],[164,2,167,2],[164,3,167,3],[168,0,171,0],[168,1,171,1],[168,2,171,2],[168,3,171,3],[172,0,175,0],[172,1,175,1],[172,2,175,2],[172,3,175,3],[176,0,179,0],[176,1,179,1],[176,2,179,2],[176,3,179,3],[180,0,183,0],[180,1,183,1],[180,2,183,2],[180,3,183,3],[184,0,187,0],[184,1,187,1],[184,2,187,2],[184,3,187,3],[188,0,191,0],[188,1,191,1],[188,2,191,2],[188,3,191,3],[192,0,195,0],[192,1,195,1],[192,2,195,2],[192,3,195,3],[196,0,199,0],[196,1,199,1],[196,2,199,2],[196,3,199,3],[200,0,203,0],[200,1,203,1],[200,2,203,2],[200,3,203,3],[204,0,207,0],[204,1,207,1],[204,2,207,2],[204,3,207,3],[208,0,211,0],[208,1,211,1],[208,2,211,2],[208,3,211,3],[212,0,215,0],[212,1,215,1],[212,2,215,2],[212,3,215,3],[216,0,219,0],[216,1,219,1],[216,2,219,2],[216,3,219,3],[220,0,223,0],[220,1,223,1],[220,2,223,2],[220,3,223,3],[224,0,227,0],[224,1,227,1],[224,2,227,2],[224,3,227,3],[228,0,231,0],[228,1,231,1],[228,2,231,2],[228,3,231,3],[232,0,235,0],[232,1,235,1],[232,2,235,2],[232,3,235,3],[236,0,239,0],[236,1,239,1],[236,2,239,2],[236,3,239,3],[240,0,243,0],[240,1,243,1],[240,2,243,2],[240,3,243,3],[244,0,247,0],[244,1,247,1],[244,2,247,2],[244,3,247,3],[248,0,251,0],[248,1,251,1],[248,2,251,2],[248,3,251,3],[252,0,255,0],[252,1,255,1],[252,2,255,2],[252,3,255,3],[256,0,259,0],[256,1,259,1],[256,2,259,2],[256,3,259,3],[260,0,263,0],[260,1,263,1],[260,2,263,2],[260,3,263,3],[264,0,267,0],[264,1,267,1],[264,2,267,2],[264,3,267,3],[268,0,271,0],[268,1,271,1],[268,2,271,2],[268,3,271,3],[272,0,275,0],[272,1,275,1],[272,2,275,2],[272,3,275,3],[276,0,279,0],[276,1,279,1],[276,2,279,2],[276,3,279,3],[280,0,283,0],[280,1,283,1],[280,2,283,2],[280,3,283,3],[284,0,287,0],[284,1,287,1],[284,2,287,2],[284,3,287,3]],"flags":["formulas_cached_only"]}
["江苏省2006年第八批申报二级资质建筑业企业审查意见（行政中心）"]
["序号","企  业  名  称","申报专业（等级）","审查意见"]
[]
[]
["1","江苏南通三建集团有限公司","增项：消防设施工程专业承包二级","代表工程一指标不明"]
[]
[]
[]
["2","南通中天设备安装有限公司","主项：机电设备安装工程专业承包二级；增项：钢结构工程专业承包二级","核代表工程二竣工验收报告原件，钢结构不达标"]
[]
[]
[]
["3","南通建工第一建筑有限公司","主项：房屋建筑工程施工总承包二级（特级分立）","达标"]
[]
[]
[]
["4","通州建总集团建筑安装工程有限公司","主项：房屋建筑工程施工总承包二级增项：机电设备安装工程专业承包二级；建筑防水工程专业承包三级","达标"]
[]
[]
[]
["5","龙信建设集团有限公司（原名：海门市建筑安装工程有限公司）","增项：建筑幕墙工程专业承包二级","幕墙从三级申报"]
[]
[]
[]
["6","江苏南通二建集团中润建设有限公司","主项：房屋建筑工程施工总承包二级\n增项：建筑幕墙工程专业承包二级；\n园林古建筑工程专业承包二级；\n起重设备安装工程专业承包二级","起重设备工程专业承包二级达标，园林古建专业承包二级达标，房屋建筑工程施工总承包二级达标"]
[]
[]
[]
["7","南通启益建设工程有限公司","增项：消防设施工程专业承包二级；\n机电设备安装工程专业承包二级；\n空气净化二级","1、提供机电设备安装代表工程竣工验收报告；3、空气净化工程，消防设施工程从最低级申报"]
[]
[]
[]
["8","南通五建通源建筑工程有限公司","主项：房屋建筑工程施工总承包二级","达标"]
[]
[]
[]
["9","江苏新源建筑工程有限公司","增项：市政公用工程施工总承包二级；钢结构工程专业承包二级；金属门窗工程专业承包二级","1、核市政、钢结构、金属门窗三级资质取得时间；2、核桥茶中学体育馆中标通知书原件，工程竣工验收证明原件"]
[]
[]
[]
["10","南通市大陆建设工程有限公司","主项：房屋建筑工程施工总承包二级","达标"]
[]
[]
[]
["11","南通华宇建筑安装工程有限公司","主项：房屋建筑工程施工总承包二级","达标"]
[]
[]
[]
["12","江苏润宇建设有限公司","主项：房屋建筑工程施工总承包二级","达标"]
[]
[]
[]
["13","南通市第八建筑安装工程公司","增项：园林古建筑工程专业承包二级","达标"]
[]
[]
[]
["14","南通八建起重设备安装工程有限公司","主项：起重设备安装工程专业承包二级","达标"]
[]
[]
[]
["15","南通华通建设集团有限公司","增项：市政公用工程总承包二级","达标（限道路排水）"]
[]
[]
[]
["16","江苏安顺建设集团有限公司","主项：市政公用工程施工总承包二级（城市道路、桥梁、隧道、公共广场工程）","1、市政二级原资质为燃气资质，未有城市道路等专业工程业绩，不符合。3、机电设备安装业绩达标"]
[]
[]
[]
["17","金坛市市政建设有限公司","增项：公路路基工程专业承包二级","不达标"]
[]
[]
[]
["18","江苏宏大建设集团有限公司","增项：钢结构工程专业承包二级；机电设备安装工程专业承包二级","机电设备安装工程达标"]
[]
[]
[]
["19","通州市兴仁市政水利建筑安装工程公司","主项：市政公用工程施工总承包二级","1、核技经人员合同、职称证书原件，2、核代表工程原件，3、最高工程结算收入不达标"]
[]
[]
[]
["20","苏州市安达净化工程技术有限公司","主项：空气净化二级","达标"]
[]
[]
[]
["21","江苏省金山建设有限公司","主项：房屋建筑工程施工总承包二级\n增项：地基与基础工程专业承包二级\n建筑装修装饰工程专业承包二级\n机电设备安装工程专业承包二级","重组说明不清，待核查"]
[]
[]
[]
["22","无锡华东交通工程公司","增项:航道工程专业承包二级","达标"]
[]
[]
[]
["23","昆山市交通工程有限公司","增项：市政公用工程施工总承包二级","达标（限路桥）"]
[]
[]
[]
["24","江苏天一路桥有限公司","主项：公路工程施工总承包二级","核代表工程原件"]
[]
[]
[]
["25","常州市航务工程有限责任公司","增项：公路路基工程专业承包二级","1、总工丁芳源为退休人员，且与任职文件不符。\n2、总经济师徐佐仁为退休人员。\n3、镇江市干线公路网化工程S101丹阳B标、镇江市干线公路网化工程S101 A标、苏南路网三期改造等工程为劳务分包。\n不达标     "]
[]
[]
[]
["26","盐城金阳交通设施有限公司","增项：环保工程专业承包二级","达标（限噪声处理）"]
[]
[]
[]
["27","江苏远卓工程咨询有限公司","主项：特种专业工程专业承包不分等级","达标（限加固）"]
[]
[]
[]
["28","南京东大智能化系统有限公司","增项：机电设备安装工程专业承包二级；建筑装修装饰工程专业承包二级","所有工程未提供经审计的工程结算审核单"]
[]
[]
[]
["29","南京瀚森建设有限公司（原名：南京土桥路桥有限公司）","主项：市政公用工程施工总承包二级","市政：除燃气。\n体育场地工程：三个工程均无提供图纸，指标不明。"]
[]
[]
[]
["30","南京天竺门窗业有限公司（原名：南京锡飞建筑工程公司）","主项：金属门窗工程专业承包二级","达标"]
[]
[]
[]
["31","南京东大建设新技术有限公司","主项：建筑智能化工程专业承包二级","达标"]
[]
[]
[]
["32","南京汉威体育工程有限公司","主项：体育场地设施工程专业承包二级","1、技术负责人不具有相关专业的高级职称；2、代表工程均未提供施工图纸，指标无法确认"]
[]
[]
[]
["33","南京瑞源市政工程有限公司","主项:市政公用工程施工总承包二级","达标（除燃气）"]
[]
[]
[]
["34","南京瑞丰市政工程建设有限公司","主项：市政公用工程施工总承包二级","达标（除燃气）"]
[]
[]
[]
["35","南京润华市政建设有限公司","主项：市政公用工程施工总承包二级\n增项：桥梁工程专业承包二级","市政达标（除燃气）"]
[]
[]
[]
["36","南通金碧装饰工程有限公司","主项：建筑装修装饰工程专业承包二级","达标"]
[]
[]
[]
["37","江苏环盛建设工程有限公司","增项：房屋建筑工程施工总承包二级","达标"]
[]
[]
[]
["38","南京日创建设工程有限公司","主项：房屋建筑工程施工总承包二级\n增项：市政公用工程施工总承包三级","达标"]
[]
[]
[]
["39","南京市住宅建设总公司","增项：机电设备安装二级","核总工、总会职称证书"]
[]
[]
[]
["40","南京鹏舜建筑加固工程有限公司","主项：特种专业工程专业承包不分等级","达标（限加固）"]
[]
[]
[]
["41","南京永茂建筑工程有限公司","主项：特种工程专业承包（特种加固）","达标（限加固）"]
[]
[]
[]
["42","南京夯固建筑技术发展有限公司","主项：特种工程专业承包（建筑加固）","达标（限加固）"]
[]
[]
[]
["43","爱思开建设（南京）有限公司","增项：隧道工程专业承包二级","1、无项目经理认可证明。\n2、无标准所要求的隧道凿岩台车等设备。\n3、所列的高速、隧道等工程均系其集团公司SK建设株式会社的业绩，其具体施工能力不详。"]
[]
[]
[]
["44","南京石湫建设发展有限公司","增项：金属门窗工程专业承包二级","达标"]
[]
[]
[]
["45","南京年盛建筑安装工程有限公司","主项：房屋建筑工程施工总承包二级","达标"]
[]
[]
[]
["46","江苏年华建设工程有限公司","主项：房屋建筑工程施工总承包二级","达标"]
[]
[]
[]
["47","苏州顺龙建设工程有限公司（沧浪）","主项：市政公用工程施工总承包二级","核取得市政三级时间，提供代表工程的施工许可证"]
[]
[]
[]
["48","扬州市青华电力设备制造安装有限公司（江都）","主项：机电设备安装工程专业承包二级","达标"]
[]
[]
[]
["49","扬州秋源安装工程有限公司（原名：扬州华盛投资发展有限公司）","主项：机电设备安装工程专业承包二级","达标"]
[]
[]
[]
["50","扬州福腾门窗幕墙有限公司","主项：金属门窗工程专业承包二级","项目经理不达标，代表工程资料不全"]
[]
[]
[]
["51","江苏云泰建设工程有限公司","主项：房屋建筑工程施工总承包二级","房建代表工程1、无中标通知书无施工许可证图纸无出图章；2、无施工许可证；3、无施工许可证，图纸不清；4、连跨48M不成代表工程，单跨22M，不可以提供所需材料"]
[]
[]
[]
["52","江苏荣润建设工程有限公司","主项：建筑装修装饰工程专业承包二级","达标"]
[]
[]
[]
["53","泰州市大禹环境工程有限公司","主项：环保工程专业承包二级","1、总工程师为1945年3月出生，已过60周岁。\n2、少一项环保代表工程\n3、三项环保代表工程，均未见工程验收报告。"]
[]
[]
[]
["54","金坛市兴通路桥工程有限公司","主项：市政公用工程施工总承包二级","达标（除燃气）"]
[]
[]
[]
["55","兴化市明灿建设工程有限公司","主项：房屋建筑工程施工总承包二级\n增项：市政公用工程施工总承包二级；\n公路路基工程专业承包二级","代表工程不达标"]
[]
[]
[]
["56","江苏中昱建设工程有限公司","主项：房屋建筑工程施工总承包二级","取得三级资质未满三年，核代表工程4 22M跨度剖面图纸"]
[]
[]
[]
["57","泰州市克林净化工程有限公司（高港）","主项：空气净化二级","达标"]
[]
[]
[]
["58","江苏新兴建设工程有限公司","增项：地基与基础工程专业承包二级；机电设备安装工程专业承包二级；建筑装修装饰工程专业承包二级","达标"]
[]
[]
[]
["59","苏州仓建城市照明有限公司","主项：城市及道路照明工程专业承包二级","达标"]
[]
[]
[]
["60","太仓市振华市政工程有限公司","主项：市政公用工程施工总承包二级","达标（除燃气）"]
[]
[]
[]
["61","常州天马万象市政建设工程有限公司","主项：市政公用工程施工总承包二级","达标（除燃气）"]
[]
[]
[]
["62","江苏华悦建筑工程有限公司","主项：房屋建筑工程施工总承包二级","核代表工程1面积图纸，核代表工程4跨度图纸"]
[]
[]
[]
["63","连云港市晶都建设集团有限公司","主项：公路工程施工总承包二级\n增项：公路路基工程专业承包二级；公路路面工程专业承包二级","达标"]
[]
[]
[]
["64","南京东珠路桥工程有限公司","主项：公路路面工程专业承包二级","从三级开始申报"]
[]
[]
[]
["65","启东市交通工程有限公司","主项：公路工程施工总承包二级\n增项：市政公用工程施工总承包二级","达标，市政除燃气"]
[]
[]
[]
["66","江苏易明昌建设工程有限公司","主项：机电设备安装工程专业承包二级","达标"]
[]
[]
[]
["67","江阴市先锋建筑有限责任公司","主项：房屋建筑工程施工总承包二级","1、代表工程一：跨度不明，提供剖面结构图纸。\n2、代表工程二：核工程合同原件和竣工验收原件\n3、技术负责人赵彬：系省教育建筑工程监理咨询有限公司人员，无聘用手续"]
[]
[]
[]
["68","溧阳市精能钢结构工程有限公司","主项：钢结构工程专业承包二级\n增项：机电设备安装工程专业承包二级","最高工程结算收入不达标"]
[]
[]
[]
["69","江苏金土地建设集团有限公司","增项：市政公用工程施工总承包二级","达标"]
[]
[]
[]
["70","江苏兴厦建筑安装有限公司","增项：市政公用工程施工总承包二级；钢结构工程专业承包二级；地基与基础工程专业承包二级","达标，市政除燃气"]
[]
[]
[]
["71","扬州市裕祥装饰工程有限公司","增项：建筑幕墙工程专业承包二级","从三级申报"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}